## Table A5-Custom Moulded Earplug
Custom moulded earplugs
Where an HPD does not meet the minimum requirements of the SANS 1451, the device is highlighted in orange and the attenuation value is in red.
SANS1451-2 minimum attenuation (dB) |  |  | 18 | 16 | 19 | 23 | 26 |  | 30 |  | 30 | NRR Value
|  |  | 125 | 250 | 500 | 1000 | 2000 | 3150 | 4000 | 6300 | 8000
Manufacturer and Model | Attenuation values |  | Mean attenuation and std. dev. (dB) at given centre frequency (Hz)
Variphone (adjustment 90) | 89 | Mean | 16.3 | 18.6 | 21.7 | 25.5 | 30.2 |  | 31 |  | 37.5
|  | SD | 4.6 | 3.4 | 3.1 | 3.6 | 3.1 |  | 4.5 |  | 3.3
| Effective attenuation | Mean-1SD | 11.7 | 15.2 | 18.6 | 21.9 | 27.1 |  | 26.5 |  | 34.2 | 21.0449
Variphone (adjustment 100) | 90 | Mean | 21.4 | 22.9 | 26.4 | 28.8 | 32.7 |  | 34.2 |  | 38.7
|  | SD | 4.6 | 2.7 | 3.5 | 4.3 | 3.9 |  | 2.4 |  | 5.5
| Effective attenuation | Mean-1SD | 16.8 | 20.2 | 22.9 | 24.5 | 28.8 |  | 31.8 |  | 33.2 | 24.6258
Variphone (adjustment 110) | 91 | Mean | 22.7 | 24.4 | 26 | 30.4 | 33.1 |  | 37.7 |  | 41.8
|  | SD | 5.5 | 4.1 | 3.3 | 3.7 | 3.6 |  | 2.4 |  | 5.2
| Effective attenuation | Mean-1SD | 17.2 | 20.3 | 22.7 | 26.7 | 29.5 |  | 35.3 |  | 36.6 | 25.6636
Variphone (adjustment 120) | 92 | Mean | 28.8 | 28.8 | 30.5 | 34.2 | 33.6 |  | 37.7 |  | 42.4
|  | SD | 3.6 | 2.8 | 4.1 | 5.2 | 4.6 |  | 4 |  | 3.7
| Effective attenuation | Mean-1SD | 25.2 | 26 | 26.4 | 29 | 29 |  | 33.7 |  | 38.7 | 27.8934
Noise Clipper | 93 | Mean | 23.5 | 24.3 | 26.4 | 26.1 | 30.7 |  | 39.1 | 39.7 | 38.4
|  | SD | 6.2 | 6.3 | 9.2 | 9.2 | 6.7 |  | 5.3 | 6.4 | 6.8
| Effective attenuation | Mean-1SD | 17.3 | 18 | 17.2 | 16.9 | 24 |  | 33.8 | 33.3 | 31.6 | 19.0963
Sonomax (Full block) | 94 | Mean | 19.6 | 21.6 | 21.9 | 24.2 | 31.8 |  | 29 |  | 32.5
|  | SD | 5 | 8 | 10 | 12 | 12 |  | 12 |  | 12
| Effective attenuation | Mean-1SD | 14.6 | 13.6 | 11.9 | 12.2 | 19.8 |  | 17 |  | 20.5 | 13.3701
Sonomax (Yellow filter) | 95 | Mean | 13.7 | 15.2 | 16.7 | 17.9 | 25.4 |  | 25.7 |  | 26.8
|  | SD | 5 | 8 | 10 | 12 | 12 |  | 12 |  | 12
| Effective attenuation | Mean-1SD | 8.7 | 7.2 | 6.7 | 5.9 | 13.4 |  | 13.7 |  | 14.8 | 7.7184
Sonomax (Red filter) | 96 | Mean | 6.3 | 8.7 | 12 | 15.7 | 24.6 |  | 23 |  | 24.3
|  | SD | 5 | 8 | 10 | 12 | 12 |  | 12 |  | 12
| Effective attenuation | Mean-1SD | 1.3 | 0.7 | 2 | 3.7 | 12.6 |  | 11 |  | 12.3 | 4.6061
Sonomax (Brown filter) | 97 | Mean | 3.5 | 5.4 | 8.6 | 13 | 22 |  | 22.9 |  | 23.9
|  | SD | 5 | 8 | 10 | 12 | 12 |  | 12 |  | 12
| Effective attenuation | Mean-1SD | 0 | 0 | 0 | 1 | 10 |  | 10.9 |  | 11.9 | 2.5952